Invitation case no. 80.272.335.2019 shortened version containing

contract template, tender form and technical specification

CONTRACT template

no. 80.272.335.2019 -

concluded in Krakow on …............ 2019, by and between:

Jagiellonian University with registered seat at Gołębia 24, 31-007 Krakow,

NIP [Tax ID no.] 675-000-22-36, hereinafter the ‘Contracting Authority’, represented by:

1. ………… –……………., counter-signed by the Quaestor of the JU,

and ………………………, hereinafter the ‘Contractor’, represented by:

1. ………..

As a result of the tender invitation procedure, pursuant to Art. 4d sec. 1(1) of the Act of 29 January 2004 – Public Procurement Law (uniform text of the Journal of Laws of 2019, item 1843), and the Act of 23 April 1964 – Civil Code (uniform text of the Journal of Laws of 2019, item 1145, as amended), the following contract was concluded:

§ 1

- The subject-matter of this Contract is supply and assembly of an automatic dome for an optical telescope with technical and quantitative parameters not lower than those provided in Appendix 2 to Invitation, for the Jagiellonian University Astronomical Observatory in Krakow. A detailed description of the subject-matter of the Contract provided in sec. 3) 1 of the Invitation to Tender (hereinafter the ‘Invitation’), Appendix 2 to the Invitation, and the Contractor’s offer dated ……… 2019, forming an integral part of this Contract.

- The Contractor, within the scope of this Contract, is required, in particular, to install the Equipment mentioned in sec. 1, including verification of correctness of operation and its qualification in accordance with requirements of the manufacturer at the Astronomical Observatory’s headquarters in Krakow, at Orla street no. 171.

- The Contracting Authority, within the scope of this Contract, is required to cooperate with the Contractor throughout the installation and starting of the Equipment mentioned in sec. 1, as well as to prepare the space for its installation.

- The Contractor declares that the equipment delivered is authorized for marketing in the EU territory, brand new (i.e. not regenerated, not repaired, not modified, not fabricated, and not used in previous implementations), complete (in particular as concerns all components, parts, and materials necessary to start and use the equipment); its purchase and exploitation in accordance with intended use shall not constitute an infringement of the law, including rights of third parties, and that it is consistent with CE standards concerning safety of electrical devices, as well as holds all certificates listed in sec. 3) 1 of the Invitation and Appendix 2 to the Invitation.

- The Contractor is required to deliver, install, and start the Equipment within 12 months from the date of procurement, i.e. conclusion of the Contract; however, the Contracting Authority allows for an earlier execution of the order. In the case of a customs declaration concerning the subject-matter of the Contract being a non-Union product within the meaning of customs legislation, the order execution date will be the day on which the Contractor delivers the subject-matter, along with the documentation necessary to submit a valid declaration.

- The Contractor is required to submit the following documentation with delivery:

- Quantity and type list of the delivered devices, including, in particular: proper name of the device, manufacturer, year of production, serial number.

- Device warranty cards (guarantor’s declaration), instruction and operation manual in Polish or English,

- Certificates and approvals, declarations of conformity, and other documents (if required).

- The Contracting Authority orders, and the Contractor undertakes to perform all the activities necessary to implement the subject-matter of the Contract provided in sec. 1 and 2.

- The procedure documentation is an integral part of this Contract, including, in particular, the Invitation, appendices to the Invitation, and the Contractor’s offer.

- The Contractor shall be fully responsible, materially and legally, for any damages resulting from actions undertaken under this Contract, both to the Contracting Authority and any third parties.

- Subcontracting of a part of this Contract does not affect the obligations of the Contractor towards the Contracting Authority for performance of that part of the Contract.

- The Contractor shall be held liable for all actions, misconduct, and negligence of subcontractors and their employees to such an extent as it is responsible for its own actions, misconduct, and negligence.

§ 2

- The amount of remuneration of the Contractor for provision of the subject-matter of the Contract has been calculated based on the offer of the Contractor.

- The flat-rate remuneration for the subject-matter of the Contract shall be the following net amount: PLN..................... (in words: PLN ............................................ 00/100), which, with the addition of the payable VAT rate, amounts to the following gross sum: PLN..................... (in words: PLN ............................................ 00/100).

- The Contracting Authority is a VAT payer and holds the following NIP [Tax ID] number: PL 675-000-22-36.

- The Contractor is/is not a VAT payer in the territory of the Republic of Poland and holds the following NIP number: .................................

- Remuneration provided for in sec. 2 covers all costs that the Contractor should have foreseen in order to correctly execute the Contract, in particular: delivery costs, customs duties, installation and commissioning costs of the subject-matter of the Contract, costs of accommodation of the representatives of the Contractor in Krakow, as well as all guarantee and warranty provisions.

- VAT due on the amount of remuneration shall be paid by the Contracting Authority to the account of the competent Tax Office, should the Contractor be obligated to pay the tax in accordance with VAT regulations.

- Tax exemption or deduction of a lower amount of tax than the amount provided for in the Act of 15 February 1992 – Corporate Income Tax Act (Journal of Laws of 2019, item 865, as amended), (based on a relevant convention for the prevention of double taxation) is dependable on a foreign contractor’s confirmation of taxpayer’s place of establishment for tax purposes, i.e. on a certificate of residence stating that the given entity’s place of establishment for tax purposes is located in the territory of the relevant country, issued by a competent tax authority in that country.

- The Contractor is required to provide the certificate of residence mentioned in sec. 7 to the Contracting Authority along with the invoice issued by the Contractor.

- If the Contractor, within the deadline set in sec. 2 does not produce such a certificate, their remuneration, provided for in sec. 1 above, will be reduced by 20% of the amount due – taking into account all relevant conventions for prevention of double taxation to which the Republic of Poland is a party (Art. 21 sec. 1 and 2 of the Corporate Income Tax Act), which shall be remitted to the appropriate Tax Office.

§ 3

- The remuneration referred to in § 2 of the Agreement shall be paid to the Contractor in a one-off payment, subject to provisions of sec. 12-13, following the delivery of the entire subject-matter of the Contract to the Contracting Authority, confirmed by a certificate of final acceptance signed, without any objections, by the Contracting Authority.

- Payment shall be made within 30 days from the day of service of a correct invoice to the Contracting Authority, following the performance of the entire subject-matter of the Contract.

- The remuneration due to the Contractor shall be paid by transfer from the Contracting Authority’s bank account to the bank account of the Contractor provided on the invoice.

- The invoice should be issued to:

Uniwersytet Jagielloński, ul Gołębia 24, 31-007 Kraków, Polska

NIP: 675-000-22-36, REGON: 0000001270

- The Contracting Authority is required to notify the Contractor, immediately and in writing, of any defects or damages to the subject-matter of the Contract found at delivery, not later than within 7 days from the date of delivery.

- The ownership rights to the delivered subject-matter of the Contract shall be transferred to the Contracting Authority upon payment of the entire amount of the contractual remuneration referred to in § 2 of the Contract.

- The final acceptance date of the subject-matter of the Contract, taking into consideration the second sentence of § 1 sec. 5 of the Contract, shall be the day of the actual performance of activities included in the subject-matter of the Contract by the Contractor, recorded in the abovementioned Certificate of Acceptance.

- The Certificate of Acceptance of the subject-matter of the Contract shall be prepared in cooperation with authorized representatives of the Parties to this Contract, upon verification of conformity of performance of the subject-matter of the Contract with terms and conditions of this Contract, Invitation, and the offer of the Contractor, delivery, installation, and commissioning of the subject-matter of the Contract.

- Signing of the Certificate does not exclude any claims that may be made by the Contracting Authority in the case of an undue performance of the Contract – in particular, in the case of defects found by the Contracting Authority in the subject-matter of the Contract after the reception of delivery.

- The representative of the Contracting Authority mentioned in § 8 sec. 4(a) of the Contract is authorized to carry out the acceptance of the subject-matter of the Contract, whereas on the part of the Contractor, the person mentioned in § 8 sec. 4(b) is authorized for the same.

- If and when the Contractor issues structured electronic invoices within the meaning of Art. 6 sec. 1 of the Act of 9 November 2018 on electronic invoicing in public procurement, concessions for construction works or services, and public-private partnership (Journal of Laws of 2018, item 2191, as amended), using the Platforma Elektronicznego Fakturowania [E-invoicing Platform] available at: https://efaktura.gov.pl/, in the ‘reference’ field, the Contractor shall provide the following e-mail address: ………………………………… .

- The remuneration payable to the Contractor shall be paid by bank transfer from the Contracting Authority’s account to the account of the Contractor indicated in the invoice, with the proviso that the Contractor is required to provide the account number that has been disclosed in the register of VAT payers, non-registered entities, entities excluded and reinstated into the VAT register held by the Head of the National Tax Administration (hereinafter: the ‘White List’).

- In case of discrepancies between the account indicated in the invoice and the one provided in the ‘White List’, the Contracting Authority is entitled to transfer the remuneration to the account provided by the Contractor in the ‘White List’. Payment to the account indicated in the ‘White List’ as the Contractor’s account number shall extinguish the Contracting Authority’s obligation to the Contractor to pay the remuneration.

- If the Contractor is registered as a VAT taxable person, the Contracting Authority shall  pay the remuneration in accordance with the split payment system, i.e. in accordance with provisions of Art. 108a sec. 2 of the Act of 11 March 2004 on the value added tax (uniform text of the Journal of Laws of 2018, item 2174, as amended). Provisions of the first sentence are not applicable if and when the subject matter of the contract is a service exempt from VAT or subject to a 0% VAT rate.

- The Contracting Authority’s Bank shall be the place of payment; effective date of payment shall be the date of transfer order submitted by the Contracting Authority.

§ 4

- The Contractor undertakes to deliver the Subject-Matter of the Contract free of defects and faults, covered by a manufacturer’s warranty:

  - in the case of electrical and electronic equipment - for the period of 24 months

  - for the roofing of the dome and mechanical elements - for the period of 120 months

from the date of delivery confirmed by the certificate of acceptance.

- The Contracting Authority shall notify the Contractor, without undue delay, in one of the following forms: in writing, by e-mail or fax, of any malfunctions of the Subject-Matter of the Contract. The Contractor shall carry out the necessary repairs (eliminating the defect/malfunction) at the place of exploitation of the Equipment, within 30 days from reception of the notification of the Contracting Authority, unless otherwise agreed by the Parties.

- In the case of significant repair of a component, the Contracting Authority reserves the right to request from the Contractor the replacement, free of charge, to a new component, free of any defects or malfunctions, should it malfunction again.

- The Contracting Authority, exercising its rights under warranty for physical defects of the equipment, shall, in particular in the case of incorrect installation of the Equipment (§ 1 sec. 1) by the Contractor, demand that it be dismantled, replaced with new equipment free of defects or repaired, and re-installed. In the case of failure by the Contractor to perform this obligation, provisions of sec. 5 of this paragraph shall be applied accordingly.

- If the Contractor does not fulfill its obligations resulting from warranty or fails to comply with the abovementioned provisions, the Contracting Authority is authorized to eliminate defects (malfunctions) by way of repair, at the sole risk and cost of the Contractor, in addition to its other rights under this Contract. In such cases, the Contracting Authority is entitled to engage another entity to eliminate the defect (malfunction), and the Contractor is required to cover all costs relating thereto, within 14 days from reception of the request for payment, along with payment confirmation.

- The Contracting Authority undertakes to comply with the basic conditions of exploitation provided by the manufacturer in the provisions of the guarantor’s declaration, included in the warranty documentation or operation manuals provided by the Contractor, as long as they do not conflict with provisions of this paragraph.

§ 5

- The Parties reserve the rights to seek contractual penalties for breach of any of the provisions of this Contract or undue performance of obligations under this Contract.

- The Contractor, subject to sec. 4 of this paragraph, shall pay contractual penalties in amounts provided below to the Contracting Authority in the following cases:

- withdrawal from the Contract resulting from circumstances attributable to the Contractor – 10% of the net remuneration provided in § 2 sec. 2 of the Contract,

- failure to perform, or undue performance, of the Contract – 5% of the gross remuneration provided in § 2 sec. 2 of the Contract; ‘undue performance of the Contract’ means performance that is contrary to the provisions of this Contract or the Contractor’s offer, or the provisions of the Invitation, Appendix 2 to the Invitation, or if it does not meet the required parameters, functionalities, and scope of operation resulting from the Invitation and the Appendix 2 to the Invitation, as well as performance parameters of the subject-matter of the Contract.

- The Contracting Authority shall pay the Contractor contractual penalties for withdrawal from the Contract resulting from circumstances attributable to the Contracting Authority, circumstance mentioned in § 6 sec. 3 of the Contract excluded - 10% of the net remuneration provided in § 2 sec. 2 of the Contract.

- The Parties reserve the right to claim damages in excess of the stipulated penalty in accordance with the law.

- The demand for payment of contractual penalties becomes enforceable on the day following the day of occurrence of circumstances provided for in this Contract that gave a ground for that demand for payment.

- The Contracting Authority is authorized to deduct applicable contractual penalties from any contractual claim payable to the Contractor, including the amount of remuneration provided in the invoice; the Contractor hereby acknowledges and agrees thereto.

- Payment of contractual penalties does not exempt the Contractor from the obligation to perform the contract.

§ 6

- Apart from situations described in the Civil Code, the Contracting Authority is entitled to withdraw from the Contract should any of the circumstances mentioned in sec. 2 occur.

- The Contracting Authority may terminate the Contract not earlier than 7 days from the date on which it became aware of the following circumstances, but not later than until the end date of the warranty (guarantee) period for the subject-matter of the Contract, i.e.:

- the Contractor, as a result of insolvency, has been unable to fulfill its financial obligations for at least 3 months,

- liquidation or dissolution of the Contractor’s company has been undertaken, dissolution of the Contractor’s company has been carried out without liquidation, or the Contractor has been deleted from the CEIDG (Polish register of entrepreneurs),

- a seizure of Contractor’s assets has occurred,

- when the Contracting Authority becomes aware of the Contractor’s loss of financial liquidity, in particular, seizure by a bailiff or any other seizure by any authorized institutions, with total value exceeding PLN 200,000.00 (in words: two hundred thousand zlotys, 00/100).

- the Contractor has delivered a device that does not correspond to the terms and conditions of this Contract, and within the period set by the Contracting Authority, not shorter than 15 calendar days, failed to comply with the provisions of this Contract.

- Moreover, in the case of a significant change of circumstances that would cause performance of the Contract to be no longer in the public interest, which could not have been foreseen at the time of conclusion thereof, the Contracting Authority may terminate the Contract within 30 days from the date on which it became aware of these circumstances.

- The Contractor is not entitled to any damages for termination of the Contract by the Contracting Authority due to the fault on the part of the Contractor.

- The Contract should be terminated in writing and justified under pain of nullity.

- The Contracting Authority reserves the right to partially withdraw from the Contract, i.e. from the non-executed or unduly executed part of the subject-matter of the Contract. In that case, all provisions applicable to the duly executed part of the Contract remain in force.

- Withdrawal from the Contract does not affect the existence and effectiveness of claims for contractual penalties.

§ 7

- Where, by reason of circumstances of force majeure, the Party is unable to perform their duties under this Contract, in whole or in part, it shall immediately notify the other Party of that fact. In that case, the Parties shall agree upon the method and terms and conditions of further performance of the Contract or terminate the Contract.

- By the operation of a force majeure, the Parties shall understand an external and extraordinary event that could not have been foreseen or prevented, in particular: war, state of emergency, flood, fire, or essential change in the socioeconomic situation.

- Periods set out in this Contract shall be suspended for the period during which the circumstances of force majeure persist.

§ 8

- All declarations of the Parties to this Contract shall be made in writing served by registered mail or with confirmation of receipt under pain of nullity.

- All service shall be made to the following addresses of the Parties:

- Contracting Authority - Uniwersytet Jagielloński – Instytut Fizyki, ul. Łojasiewicza 11, 30-348 Kraków

- Contractor - ………………………………………………

- The Parties undertake to notify one another, by way of registered mail, of any changes to correspondence addresses provided in sec. 2, within 7 days from the occurrence of such change; default on notification causes that any correspondence sent to the previous address of the Party shall be deemed effectively served.

- Contact persons in matters relating to performance of the Contract are:

- on the part of the Contracting Authority: ………………………….. e-mail: ……………, tel. ………. or any other representative of the organizational unit of the JU mentioned above, designated by the Contracting Authority in writing,

- on the part of the Contractor: ………………………….. e-mail: ……………, tel. …………..

- The Parties jointly agree that persons mentioned above are not authorized to make any decisions as to any changes to the terms and conditions of the Contract; nor are they authorized to enter into any new engagements or to introduce any modifications to the Contract.

§ 9

- The Parties provide for the possibility of making significant changes to the Contract by way of a written annex under pain of nullity, while maintaining the flat-rate nature of the price of the Contract, in the following cases:

- the necessity of postponing the Contract completion date resulting from circumstances attributable to the Contracting Authority, due to e.g. failure to prepare/provide space for implementation/delivery as well as other causes that occurred without the fault of any of the Parties, attributable to force majeure within the meaning of § 7,

- the necessity of postponing the Contract completion date resulting from circumstances attributable to the Contractor, e.g. failure by the subcontractors to fulfill their obligations towards the Contractor, failure by the customs authorities to handle the case within the timeframe set out in law regulations for reasons beyond the control of the Contractor. The extension of the deadline should be accepted by the Contracting Authority. The Contracting Authority may refuse to give such consent if it puts the Contracting Authority to an inconvenience affecting its current scientific activity, or the extension of the deadline puts the Contracting Authority at risk of losing the grant that would provide funding for the subject-matter of the Contract.

- Should any of the provisions be found invalid, it shall not affect the validity of the remaining provisions of the Contract; in such case, the Parties shall replace the provision with a valid one, fully consistent with the purpose and other provisions of this Contract.

§ 10

  - Neither Party is allowed to transfer its rights and obligations under this Contract without prior written consent of the other Party; in particular, the Contractor is not authorized to transfer any contractual claims resulting from this Contract without prior written consent of the Contracting Authority.

  - All modifications and amendments of this Contract shall be made with the consent of both Parties, in the form of a written annex, under pain of nullity.

  - In matters not provided for in the Contract, relevant law regulations of the Republic of Poland (RP) shall apply, in particular, provisions of the Act of 23 April 1964 – Civil Code (uniform text of the Journal of Laws of 2019, item 1145, as amended).

  - Any disputes that may result from implementation of this Contract shall be settled by the court of common law with jurisdiction over the registered office of the Contracting Authority.

  - ‘Working days’ shall be understood by the Parties as the days from Monday to Friday, with the exclusion of Saturdays and public holidays within the meaning of Art. 1 of the Act of 18 January 1951 on public holidays (uniform text of the Journal of Laws  of 2015, item 90, as amended) in the territory of the Republic of Poland.

  - This Contract has been drawn up in four (4) copies, two (2) in English and two (2) in Polish, one (1) copy in each language for each Party. In the case of discrepancies between the language versions, the Polish version shall prevail.

.........................................                                                .....................................

Contracting Authority						Contractor

Appendix 1 to the Invitation

TENDER FORM

_______________________________________________________________

CONTRACTING AUTHORITY – Jagiellonian University

Gołębia 24, 31 – 007 Krakow;

Unit in charge of the procedure – JU Department of Public Procurement

Straszewskiego 25/2, 31-113 Krakow

______________________________________________________________________

Contractor’s name (company name) –

………………………………………………………………………………….,

Registered address –

……………………………………………………………………………………,

Correspondence address –

……………………………………………………………………………………,

Tel. - ......................................................; fax - ......................................................;

E-mail: ..............................................................;

NIP [Tax ID no.] - .................................................;

REGON [Statistical no.] - .................................................;

In reply to your invitation to participate in the procedure of awarding of a contract for an automatic optical telescope dome for the purposes of the JU Astronomical Observatory in Krakow, we would like to present you with the following offer:

- we hereby declare that:

- we offer performance of the subject-matter of the Contract for the total net price of ...................................... (PLN *, plus VAT due, in the amount of ….....%*, i.e. total gross amount of...................................... * (in words: …..........................….............)

- we offer the Contract completion date consistent with sec. 3) 6 of the Invitation,

- we offer the payment date of 30 days from the date of service of the invoice, in accordance with requirements provided in the Invitation,

- we declare that we have read the Invitation to Tender, in particular the model Contract attached thereto and description of the subject-matter of the Contract along with appendices, and we consider ourselves bound with terms and conditions, as well as rules  of conduct provided thereunder,

- we declare that the equipment offered is covered with the CE declaration of conformity,

- we declare that we consider ourselves bound with this offer for the period of 30 days from the date of its opening,

- we declare that the subject-matter of the Contract offered by us adheres to the Contracting Authority’s terms and conditions stipulated in the Invitation,

- we declare that the equipment offered by us is covered with a warranty for the period provided in the Appendix no. 4 to the Invitation,

- the person authorized to contact the Contracting Authority for matters pertaining to the offer and for matters relating to potential performance of the Contract is: ……….…………….., e-mail: …………………., tel.: ………………….. (this field is optional)

- the offer has ........................* numbered pages.

Appendix:

Appendix 1 –  declaration of fulfillment of conditions for participation in the procedure.

Appendix 2 - declaration on the absence of grounds for exclusion.

Appendix 3 - declaration of the Contractor concerning fulfillment of obligations provided for in Art. 13 or 14 of the GDPR.

Appendix 4 – power of attorney if the offer is to be signed by a proxy.

Please note! Dotted lines and/or lines marked with ‘*’ in the tender form model and models of appendices should be filled in or deleted accordingly by the Contractor.

Place .................................................. date ........................................... 2019

........................................................................

(stamp and signature of the person authorized to submit declarations of will on behalf of the Contractor)

Appendix 1 to the Tender Form

(Contractor’s company stamp)

DECLARATION

By submitting the offer in the second part of the procedure in order to select a Supplier to provide an automatic optical telescope dome for the Jagiellonian University Astronomical Observatory in Krakow, I declare fulfillment of conditions for participation in the procedure provided by the Contracting Authority in sec. 3) 5.1 of the Invitation, i.e. I declare that I have, in the period of the last 3 years before the final date for submitting tenders, and if the period of running of business is shorter – within that period, carried out 2 deliveries of automatic optical telescope dome. In confirmation of that fact, I declare that I have carried out the following deliveries:

- within the scope provided in sec. 3) 4.1:

| SUBJECT MATTER OF THE CONTRACT address, scope of contract (the scope needs to be in line with conditions set by the Contracting Authority) | Contracting Authority | Method of performance (own resources/third party – in the latter case, provide the name of the entity) |
| --- | --- | --- |
|  |  |  one of the Contractors applying jointly  another entity sharing resources, i.e. ……………………….. |
|  |  |  one of the Contractors applying jointly  another entity sharing resources, i.e. ……………………….. |

I hereby declare that all information provided in the declarations are up-to-date and accurate, and have been presented in full knowledge of the consequences of fraudulent misrepresentation; in witness whereof, we provide reference documents confirming performance of the abovementioned deliveries in accordance with terms and conditions provided in the Invitation along with our offer.

Place .................................................. date ........................................... 2019

........................................................................

(stamp and signature of the person authorized

to submit declarations of will on behalf of the Contractor)

Appendix 2 to the Tender Form

(Contractor’s company stamp)

DECLARATION

By submitting an offer in the procedure of awarding of a contract for delivery and installation of an automatic optical telescope dome, case no.: 80.272.335.2019, I hereby declare that there are no grounds for exclusion of the Contractor from the proceedings as described in sec. 8) 5 of the ‘Invitation to Tender’ resulting in rejection of the offer.

Place .................................................. date ........................................... 2019

........................................................................

(stamp and signature of the person

authorized to submit declarations of will

on behalf of the Contractor)

Appendix 3 to the tender form

(Contractor/Company stamp of the Contractor)

DECLARATION OF THE CONTRACTOR

CONCERNING FULFILLMENT OF INFORMATION REQUIREMENTS PURSUANT TO ART. 13 OR ART. 14 OF THE GDPR

I/We hereby declare having met the information requirements provided for in Art. 13 or 14 of the Regulation (EU) of the European Parliament and the Council no. 2016/679 of 27 April 2016  on the protection of individuals with regard to the processing of personal data and on the free movement of such data, repealing Directive 95/46/EC regarding natural persons from whom I/we have directly obtained personal data for the purposes of application for the award of the public contract in this procedure.

Place .................................................. date ..........................................

.......................................................................

(stamp and signature of the person

authorized to submit declarations of will

on behalf of the Contractor)

Appendix 2 to the Invitation

Purchase subject:

Fully automated dome for optical telescope CDK500 with assembly

Specification:

- dome that can hold a new 50cm telescope CDK500 Planewave

http://planewave.com/products-page/cdk700/l-500-direct-drive-mount/#.XWPEJ62yht8
together with assembly and necessary adaptation works performed by or on behalf of the producer (supplier),

- a type that allows observations using the fast motion of the telescope,

- opening protection against snow and rain,

- emergency closing of the dome,

- inner diameter enabling the telescope to move with the dome closed,

- entrance door always available,

- protection against rainwater entering the dome,

- equipment enabling full automation of observation, including in particular:

- automatic dome closing system in bad weather using a dedicated weather station,

- professional weather station informing about the conditions for observation: cloud sensor, wind sensor up to 200 km/h with recognition of the optimal dome setting for wind protection, self-cleaning rain sensor with direct connection to the dome controller for immediate shutdown in case of emergency, protection against lightning, possibility of archiving weather data,

- dedicated UPS backup battery designed only to close the dome in the event of a power failure.

The purchase includes delivery, assembly and necessary operations and modifications. Preparation of the assembly site lies with the customer.

Time limit: 12 months

Minimal guarantees which start running after the final acceptance of the assembled dome:

- 2 years for electrical and electronic equipment,

- 10 years for the dome cover and mechanical components,

- wind resistance of closed and parked up dome to 250 km/h.

Note

Contracting Authority reminds that:

- The Contractor shall include the technical and/or functional description or a catalogue (and brochure/s) of the manufacturer(s) (indicating, in particular, the properties of the construction materials offered, their characteristics and other relevant parameters), along with the required certificates, attestations, certificates, declarations, etc., allowing to assess the compliance of the offered materials and their parameters with the requirements of the Invitation.

- The Contractor may stipulate at the latest on the day of concluding the Agreement on the contract in the field of science that the information related to this contract constituting the trade secret within the meaning of Art. 11 of the Act of 16 April 1993 on Combating Unfair Competition (i.e. the Official Journal of Laws of 2019, item 1010, as further amended) may not be made available.

- It is allowed to communicate in writing or electronically. Contractors may submit to the Awarding Authority proposals to change the terms of the contract, both regarding the technical requirements contained in the description of implementation the subject of the contract and the terms and conditions of the contract. Applications of the Contractors in this matter should be provided in a timely manner before the time limit for submitting of an offer, so that the Awarding Authority may respond to them before the expiry of time limit. Where the Contractors submit their comments along with the submitted offer or at a later date (e.g. during the preparation of the agreement for signature), the Awarding Authority may refuse to analyse or accept them.)

- It is recommended to communicate electronically at the e-mail address bzp@uj.edu.pl

- Offer should be submitted to the Jagiellonian University Department of Public Procurement, ul. Straszewskiego 25/2, 31-007 Kraków, by 6.12.2019 until 10:00, in writing or by email to bzp@uj.edu.pl along with the identification allowing the Contractor to be identified and specifying the subject and the number of the proceedings through the designation "An offer in a tendering procedure in order to select a Supplier to provide an automatic optical telescope dome for the Jagiellonian University Astronomical Observatory in Krakow case ref. No 80.272.335.2019, do not open before 10.12.2019 10:05

- During the examination and evaluation of offers, the Contracting Authority may request from the Contractors explanations regarding the content of submitted offers, as well as negotiate the content and prices of offers in accordance with the principles of transparency and fair treatment of Contractors.

# Footnotes

If applicable.

In the case of conclusion of a contract with a Contractor neither established nor registered in Poland.

Required only if the contractor transfers personal data of persons other than those directly related to it and if there is no exemption from application of the information requirement pursuant to Art. 13(4) or Art. 14(5) of the GDPR. In the remaining cases, the Contractor is not required to submit any declarations.